CITY OF HOUSTON

Department of Public Works and Engineering

Checklist for Infrastructure Acceptance

This checklist must be completed prior to substantial completion.

| Item | Description | Complete |
| --- | --- | --- |
|  | DPC Contract No. __________ for (Circle all that apply): Water Wastewater |  |
|  | WASTEWATER: Permit No. ____________ |  |
|  | Did Sanitary Sewer line pass pressure test and is documentation attached? |  |
|  | Did Sanitary Sewer line pass mandral test and is documentation attached? |  |
|  | Did Sanitary Sewer line pass video test and is documentation attached? |  |
|  | STORM SEWER: Permit No. ____________ |  |
|  | Did Storm Sewer line pass video test and is documentation attached? |  |
|  | Are Storm Sewer & appurtenances installed as per COH standards? |  |
|  | Is Storm Sewer system clean and unobstructed? |  |
|  | Is Storm Sewer system in the right place and does it drain? |  |
|  | Is detention pond clean per COH standards? |  |
|  | Is sodding in place per TPDES requirements? |  |
|  | WATER: Permit No. ____________ |  |
|  | Are all Water line valves and valve boxes verified and fire hydrants okay (e.g. color coded, height, etc.)? |  |
|  | Did Water line pass chlorine and pressure tests and is documentation attached? |  |
|  | Have Chlorine taps and blow offs been removed correctly? |  |
|  | PAVING: Permit No. ____________ |  |
|  | Did subgrade and pavement pass all lab testing as per COH standards and is documentation attached? |  |
|  | Are all pavement joints sealed properly? |  |
|  | Is pavement the proper depth and is documentation of core depth attached? |  |
|  | Are pavement lanes marked properly? |  |
|  | Are signs installed per COH standards? |  |
|  | Are sidewalk and handicapped ramps per COH standards and did they pass inspection by TDLR? Documentation attached? |  |
|  | Does Storm Water drain properly to inlets per COH standards with no ponding? |  |
|  | Are all Streets clean? |  |
|  | GENERAL: |  |
|  | Are all Original testing lab reports attached and do they meet COH standards? Were failures addressed properly and is documentation attached? |  |
|  | Has Preliminary Punch List been completed? Copy attached? |  |
|  | Are Red Line Drawings attached and have they been properly maintained? |  |
|  | Change Orders on this project attached? |  |

Completed by (Signature)		Date

Printed Name